## Slide 1
Monitoring of process contaminants in real time using the fluorescence-based tool Fluoralys for a rapid diagnosis of product and process safety
Notes: 1

## Slide 2
Scheme of the optical design and software
FLUORALYS
2
LED 4
LED 3
LED 2
LED 1
Embedded Electronic
Adapt.
« Stylus » probe
4 excitation fibers.
1 Read fiber
CCD Sensor
Diffraction gratings
Spectral information
Fluorescences.
4LED = 4 emission spectra

## Slide 3
3
Scheme of the optical design and software
FLUORALYS
SOFTWARE
Measurement controle
Analysis of Fluorescence information
Application of calibration models.
Calculation of means and std
Database
Monitoring the control map.
Notes: 3

## Slide 4
CML
Fluoralys
DHA + iron
DHA - iron
DHA + iron
DHA - iron
DHA + lactose + vitC
DHA + maltodextrin
DHA + lactose + vitC
DHA + maltodextrin
Real time diagnosis on recipe sensitive to heat damage

## Slide 5
Impact of storage
Chart: Storage time (days)
| 0 | 7 | 14 | 28 | 60
G1 | 12.053 | 18.629 | 23.217 | 28.555 | 44.7242
S1 | 8.4436 | 15.9381 | 18.7434 | 27.5385 | 59.5974
Formula A
Formula B
Accelerated for 60 days at 50°
Celsius

## Slide 6
Sampling
Chart: Temperature (°C)
| 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 109.2 | 109.2 | 109.2 | 109.2 | 109.2 | 109.2 | 109.2 | 109.2 | 109.2 | 109.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 119.2 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 130.4 | 137.19999999999999 | 137.19999999999999 | 137.19999999999999 | 137.19999999999999 | 139.30000000000001 | 139.30000000000001 | 140.30000000000001
MP | 18.0514 | 22.2876 | 29.5231 | 35.1878 | 40.1065 | 43.5757 | 46.0088 | 46.3142 | 45.8318
Trp | 64.4516 | 60.2324 | 52.03 | 45.293 | 41.5705 | 35.6854 | 30.65 | 28.7662 | 29.2048 | 30.8626 | 30.0807 | 28.7091
Chart: Temperature(°C)
| 18 | 90 | 97.5 | 109.4 | 119 | 124 | 130.4 | 140 | 140 | 144 | 146 | 146.6
MP | 23.09 | 45.24 | 43.38 | 48.56 | 54.15 | 60.33 | 61.16 | 61.77 | 62.66 | 63.46 | 63.17 | 62.98
Trp | 7.99 | 3.79 | 3.87 | 3.38 | 3.13 | 2.94 | 2.59 | 2.78 | 2.86 | 2.72 | 2.54 | 2.86
In line
At line
In line
At line
Infant formula heat process control using FLUORALYS
Ohmic heating process

## Slide 7
Chart: Sterilization value F0
| 0 | 1 | 3.3 | 10 | 13
Ohmic heating | 0 | 7.7804 | 21.9754 | 24.7992
Retorting | 0 | 35.701 | 47.7406
Chart: Sterilization value F0
| 0 | 1 | 3.3 | 10 | 13
Ohmic heating | 0.3 | 0.4 | 3.5 | 9.4
Retorting | 0.3 | 10.7 | 21
Fluoralys
Furan
Real time comparison of 2 technologies
Chart: storage (days)
| 0 | 34 | 62 | 88 | 120 | 145 | 174
DFR retort 8 | 10.486 | 371.208 | 287.1901 | 390.307 | 245.3881 | 283.9894 | 312.678
Furan retort 8 | 12.8074 | 18.8757 | 9.998 | 16.9051 | 12.8379 | 13.4268
Chart: storage (days)
| 0 | 60 | 87 | 112 | 139 | 165 | 193
DFR ohmic 8 | 10.486 | 76.6521 | 132.9841 | 114.042 | 127.4942 | 106.6851 | 138.1319
Furans ohmic 8 | 6.3219 | 2.4121 | 3.2066 | 7.1966 | 8.2407 | 9.2979
Impact of storage
Furan
Fluoralys
Furan
Fluoralys
Retorting
Ohmic heating
Rapid diagnosis on baby food quality using FLUORALYS

## Slide 8
180°C
190°C
200°C
Chart: 
| 0 | 0 | 0.25 | 0.5 | 0.75000000000000488 | 1 | 1.25 | 1.5 | 1.7500000000000011 | 2 | 2.25 | 2.5 | 2.75 | 3 | 3.25 | 3.5 | 3.75 | 4 | 4.25 | 4.5 | 5.25 | 5.5 | 5.75 | 6.25 | 6.5 | 6.75 | 7 | 7.5 | 7.75 | 8 | 8.25 | 8.5 | 8.75 | 9 | 9.25 | 9.5 | 9.75 | 10 | 10.25 | 10.5 | 10.75 | 11 | 11.25 | 11.5 | 11.75
Experiment 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.3804 | 0 | 8.957 | 19.1896 | 0 | 14.619 | 25.4805 | 44.6827 | 56.0819 | 42.2639 | 52.4738 | 31.1344 | 35.7275 | 81.246 | 91.5037 | 90.4342 | 64.2107 | 111.1082 | 104.9235 | 114.1068 | 134.1876 | 100.5578 | 126.2963 | 130.96 | 143.8809 | 156.9141 | 155.7213 | 154.1358 | 165.4787 | 161.0423 | 177.4342 | 185.3564 | 180.1798 | 180.341 | 175.4875 | 188.9054 | 186.6566 | 176.8542 | 176.1369
In line
At line
FLUORALYS
Probe
Probe holder
Acrylamide (µg/kg)
Acrylamide (µg/kg)
Data measured Data predicted
Monitoring acrylamide in biscuits using FLUORALYS

## Slide 9
Chart: Acrylamide (µg/Kg)
| 0 | 1 | 2 | 3 | 4 | 5
Predicted acrylamide | 4.3144e-06 | 1.0384e-05 | 0.0048556 | 0.027828 | 108.1592 | 762.5272
Measured Acrylamide | 34.5489 | 46.843 | 47.1926 | 47.5071 | 83.9865 | 758.9299
Chart: Humidity (%)
| 0 | 1 | 2 | 3 | 4 | 5
Predicted Humidity | 14.049 | 13.7104 | 11.395 | 10.346 | 4.1602 | 1.9399
Measured Humidity | 13.28 | 12.92 | 12.12 | 10.48 | 5.55 | 2.7
Chart: Batch
| 1 | 2 | 2 | 4 | 4 | 5 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 11 | 11 | 11 | 12 | 12 | 13 | 14 | 14 | 15 | 15 | 15 | 16 | 16 | 16 | 17 | 17 | 17 | 18
Measured Acrylamide | 115.009 | 113.8479 | 113.5313 | 117.6582 | 96.2425 | 170.6954 | 156.1543 | 148.9376 | 111.3427 | 122.4826 | 135.3562 | 94.6573 | 153.2495 | 205.8687 | 194.2442 | 175.9617 | 70.5969
Predicted Acrylamide | 124.0712 | 100.8709 | 101.0488 | 101.4284 | 113.9867 | 149.9671 | 144.412 | 149.9802 | 111.3427 | 132.7348 | 150.8177 | 118.961 | 159.2462 | 185.9236 | 194.731 | 186.9288 | 68.1157
Measured b | 4.033 | 4.041 | 4.285 | 4.285 | 3.908 | 4.274 | 4.102 | 4.136 | 4.242 | 3.436 | 4.269 | 4.218 | 3.329 | 3.488 | 3.526 | 3.918
Chart: Batch
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Measured texture | 1648.65 | 2037.05 | 1725.6 | 1448.1 | 1613.05 | 1849.65 | 1628.55 | 1634.6 | 1641.65 | 1539.7 | 1769.35 | 1868.5 | 1913.75 | 1882.75 | 1945.55 | 2047.15 | 2130.55 | 2283.2 | 2289.2 | 2047.3 | 2340.15 | 2268.5 | 2361.65 | 2017.6 | 2111 | 1614.95 | 1901.4 | 2123.35 | 2177.95 | 2295.05
Predicted texture | 1597.2048 | 2066.7647 | 1837.8811 | 1536.1273 | 1571.8945 | 1928.3742 | 1545.6604 | 1580.6919 | 1609.3119 | 1647.7056 | 1683.1768 | 1860.8435 | 1829.565 | 1905.4092 | 1906.2718 | 2069.3157 | 2234.1717 | 2161.9068 | 2194.8346 | 2046.8972 | 2317.1845 | 2248.7932 | 2364.8718 | 1987.1904 | 2122.2746 | 1777.42 | 1920.3761 | 2110.9623 | 2180.0949 | 2312.3235
Monitoring of acrylamide and texture at industrial scale over production days
Industrial monitoring of acrylamide in biscuits in a multicriteria approach

## Slide 10
FLUORALYS is a non destructive fluorescence analyzer developed for real time, reliable and simple monitoring of process contaminants
Conclusion
  For R&D purposes :
    impact of recipes/ingredients
    interest of alternative technologies
    prediction of storage effect
    process optimization in a multicriteria approach
  For quality control in PRODUCTION in a multicriteria approach:
    AT LINE in the final product for control map
    IN LINE for implementation of corrective actions